General characteristics of the existing power plants

in the power system of the Republic of Tajikistan

| № | Name |  | Set voltage [kV] | Unit number | Installed capacity [МW] | Available capacity [MW] | Expluatation capacity [MW] | Yeah of comissioning |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Nurek (HPP 7) |  | 500 | 5х335+1х320 | 1995 | 1950 | 1821 | Active |
|  |  |  | 220 | 3х335 | 1005 | 800 |  |  |
| 2 | Boygozi (HPP 8) |  | 220 | 4x150 | 600 | 550 | 272 | Active |
| 3 | Sangtuda 1 (HPP 11) |  | 220 | 4x167.5 | 670 | 670 | 210 | 2008 |
| 4 | Sangtuda 2 (HPP 12) |  | 220 | 2x110 | 220 | 220 | 115 | 1x110 on 2011 2x110 on 2013 |
| 5 | Golovnaya (HPP 5) |  | 220 | 3x35+3x45 | 240 | 170 | 96 | Active |
| 6 | Kayrakkum (HPP 24) |  | 220 | 6x21 | 126 | 124 | 80.4 | Active |
| 7 | Dushanbe TPP |  | 220 | 2х35+1х42+1х86 | 198 | 130 | 5.7 | Active |
| 8 | Yavan TPP |  | 220 | 2х60 | 120 | 0 | 0 | Not active |
| 9 | Tsentral'naya HPP |  | 110 | 2х7,55 | 15.1 | 12.8 | 4.9 | Active |
| 10 | Perepadnaya HPP |  | 110 | 2х10,8+1х8,35 | 29.95 | 26.3 | 21.2 | Active |
| 11 | Cascade of Varzob HPP | VHPP-1 | 35 | 2х4,75 | 9.5 | 9.5 | Active | Active |
| 12 |  | VHPP-2 | 35 | 2х7,2 | 14.4 | 5 |  | Active |
| 13 |  | VHPP-3 | 35 | 2х1,76 | 3.52 | 1.5 |  | Active |